## Pyramid Lake Analytical Data
Analyte | Los Angeles Basin Plan Objective | Sample Location | Near Dam; epilimnion | Near Dam; hypolimnion | Piru Creek Arm; epilimnion | Piru Creek Arm; hypolimnion | Warne PP Arm; epilimnion | Warne PP Arm; hypolimnion
|  | Sample ID | BL0917B0408 | BL0917B0409 | BL0917B0410 | BL0917B0411 | BL0917B0412 | BL0917B0413
|  | Sample Depth (ft) | 3 | 200 | 3 | 170 | 3 | 130
|  | Sample Date | 2017-09-28 | 2017-09-28 | 2017-09-28 | 2017-09-28 | 2017-09-28 | 2017-09-28
|  | Units | Result | Result | Result | Result | Result | Result
In Situ Measurments
Temperature |  | °C | 22.98 | 21.98 | 23.34 | 22.68 | 23.25 | 22.12
Specific Conductance |  | µSiemans/cm | 194 | 220 | 196 | 206 | 194 | 203
pH | 6.5-8.5 | stnd units | 7.66 | 7.2 | 7.39 | 7.1 | 7.4 | 7.32
Dissolved Oxygen | 5 | mg/L | 5.93 | 3.23 | 5.4 | 3.81 | 6.96 | 6.81
Turbidity |  | NTU | 3.6 | 7.4 | 1.8 | 11.9 | 1.1 | 5
Total Concentrations
Alkalinity, Total (as CaCO3) |  | mg/L | 42 | 48 | 42 | 44 | 42 | 44
Aluminum | 0.2 | mg/L | 0.013 | 0.017 | 0.013 | 0.021 | 0.011 | 0.016
Antimony | 0.006 | mg/L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001
Arsenic | 0.01 | mg/L | 0.002 | 0.003 | 0.002 | 0.002 | 0.002 | 0.002
Barium | 1 | mg/L | 0.019 | 0.02 | 0.02 | 0.02 | 0.019 | 0.019
Beryllium | 0.004 | mg/L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001
Cadmium | 0.005 | mg/L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001
Chromium | 0.05 | mg/L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001
Copper | 1 | mg/L | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001
Dissolved Solids |  | mg/L | 115 | 146 | 113 | 116 | 115 | 116
Iron |  | mg/L | 0.017 | 0.024 | 0.013 | 0.027 | 0.011 | 0.021
Kjeldahl Nitrogen |  | mg/L | 0.1 | 0.2 | 0.2 | 0.2 | 0.3 | 0.1
Lead | 0.015 | mg/L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001
Manganese |  | mg/L | <0.005 | 0.028 | <0.005 | 0.012 | <0.005 | 0.005
Nickel | 0.1 | mg/L | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001
Organic Carbon |  | mg/L | 2.8 | 3 | 2.7 | 2.8 | 3 | 2.8
Phosphorus |  | mg/L | 0.09 | 0.14 | 0.09 | 0.1 | 0.09 | 0.09
Selenium | 0.01 | mg/L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001
Silver |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001
Suspended Solids |  | mg/L | <1 | 1 | 4 | 1 | 2 | <1
Zinc |  | mg/L | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | 0.007
Mercury, Total | 2000 | ng/L | 0.56 | 1 | ND | 0.78 | ND | 0.54
Methyl Mercury |  | ng/L | 0.031 | 0.068 | 0.076 | 0.022 | 0.038 | 0.053
Dissolved Concentrations
Aluminum |  | mg/L | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01
Ammonia (as N) |  | mg/L | <0.01 | <0.01 | 0.01 | <0.01 | <0.01 | <0.01
Antimony |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001
Arsenic |  | mg/L | 0.002 | 0.003 | 0.002 | 0.002 | 0.002 | 0.002
Barium |  | mg/L | 0.018 | 0.018 | 0.019 | 0.018 | 0.018 | 0.018
Beryllium |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001
Cadmium |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001
Calcium |  | mg/L | 11 | 14 | 11 | 12 | 11 | 11
Chloride |  | mg/L | 23 | 27 | 23 | 24 | 23 | 24
Chromium |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001
Copper |  | mg/L | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001
Hardness |  | mg/L | 51 | 62 | 51 | 53 | 50 | 51
Iron |  | mg/L | <0.005 | 0.006 | <0.005 | <0.005 | <0.005 | 0.005
Lead |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001 | <.001 | <0.001
Magnesium |  | mg/L | 5 | 6 | 5 | 6 | 5 | 6
Manganese |  | mg/L | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005
Nickel |  | mg/L | <0.001 | 0.001 | <0.0001 | <0.001 | <0.001 | <0.001
Nitrate + Nitrite | 10 | mg/L | 0.19 | 0.43 | 0.51 | 0.24 | 0.18 | 0.18
Organic Carbon |  | mg/L | 2.6 | 3 | 2.7 | 2.7 | 2.7 | 2.8
Ortho-phosphate |  | mg/L | 0.07 | 0.12 | 0.07 | 0.1 | 0.07 | 0.07
Potassium |  | mg/L | 1.7 | 2.1 | 1.8 | 1.8 | 1.8 | 1.7
Selenium |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001
Silver |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001 | <0.001 | <0.001
Sodium |  | mg/L | 18 | 22 | 18 | 19 | 18 | 19
Sulfate |  | mg/L | 15 | 22 | 15 | 16 | 15 | 15
Zinc |  | mg/L | <0.005 | <0.005 | <0.005 | <0.005 | <0.005 | <0.005
Methyl Mercury |  | ng/L | ≤0.020 | 0.059 | 0.034 | 0.029 | ≤0.020 | 0.036
Pesticides
Diazinon |  | ug/L | ND | ND | ND | ND | ND | ND
Chlorpyrifos |  | ug/L | ND | ND | ND | ND | ND | ND

## Quail Lake Analytical Data
Analyte | Lahontan Basin Plan Objective | Sample Location | Quail Lake near Center; surface | Quail Lake near Center; bottom | Quail Lake near Outlet; surface | Quail Lake near Outlet; bottom
|  | Sample ID | BL0917B0404 | BL0917B0405 | BL0917B0406 | BL0917B0407
|  | Sample Depth | 3 | 30 | 3 | 30
|  | Sample Date | 2017-09-26 | 2017-09-26 | 2017-09-26 | 2017-09-26
|  | Units | Result | Result | Result | Result
In Situ Measurments
Temperature |  | °C | 20.33 | 20.12 | 20.21 | 20.05
Specific Conductance | 900 | µSiemans/cm | 218 | 214 | 214 | 214
pH | 6.5 - 8.5 | stnd units | 8.1 | 7.8 | 7.9 | 7.8
Dissolved Oxygen |  | mg/L | 8.17 | 8.11 | 7.87 | 7.81
Turbidity |  | NTU | 6.7 | 8 | 4.1 | 16.3
Total Concentrations
Alkalinity (as CaCO3) |  | mg/L | 49 | 49 | 49 | 49
Aluminum | 0.2 | mg/L | 0.04 | 0.06 | 0.04 | 0.04
Antimony | 0.006 | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Arsenic | 0.01 | mg/L | 0.002 | 0.002 | 0.002 | 0.002
Barium | 1 | mg/L | 0.023 | 0.023 | 0.023 | 0.023
Beryllium | 0.004 | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Cadmium | 0.005 | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Chromium | 0.05 | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Copper | 1 | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Dissolved Solids | 500 | mg/L | 124 | 124 | 123 | 123
Iron | 0.3 | mg/L | 0.1 | 0.1 | 0.1 | 0.1
Kjeldahl Nitrogen |  | mg/L | 0.3 | <0.1 | 0.3 | 0.3
Lead | 0.015 | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Manganese | 0.05 | mg/L | 0.01 | 0.02 | 0.01 | 0.02
Nickel | 0.1 | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Organic Carbon |  | mg/L | 2.9 | 2.9 | 3 | 2.9
Phosphorus |  | mg/L | 0.11 | 0.14 | 0.1 | 0.1
Selenium | 0.01 | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Silver | 0.1 | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Suspended Solids |  | mg/L | 4 | 5 | 3 | 3
Zinc | 5 | mg/L | <0.005 | <0.005 | <0.005 | <0.005
Mercury, Total | 2000 | ng/L | 0.82 | 0.92 | 0.78 | 0.94
Methyl Mercury |  | ng/L | 0.054 | 0.041 | 0.049 | 0.046
Dissolved Concentrations
Aluminum |  | mg/L | <.01 | 0.01 | <0.01 | 0.01
Ammonia (as N) |  | mg/L | 0.04 | 0.04 | 0.04 | 0.04
Antimony |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Arsenic |  | mg/L | 0.002 | 0.002 | 0.002 | 0.002
Barium |  | mg/L | 0.021 | 0.021 | 0.021 | 0.021
Beryllium |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Cadmium |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Calcium |  | mg/L | 11 | 11 | 11 | 11
Chloride | 250 | mg/L | 27 | 27 | 27 | 26
Chromium |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Copper |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Hardness |  | mg/L | 54 | 55 | 54 | 55
Iron |  | mg/L | <0.005 | <0.005 | <0.005 | <0.005
Lead |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Magnesium |  | mg/L | 7 | 7 | 7 | 7
Manganese |  | mg/L | <0.005 | <0.005 | <0.005 | <0.005
Nickel |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Nitrate + Nitrite |  | mg/L | 0.21 | 0.2 | 0.21 | 0.19
Organic Carbon |  | mg/L | 2.8 | 2.8 | 2.8 | 2.8
Ortho-phosphate |  | mg/L | 0.1 | 0.1 | 0.1 | 0.09
Potassium |  | mg/L | 1.9 | 1.7 | 1.8 | 1.8
Selenium |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Silver |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Sodium |  | mg/L | 21 | 21 | 21 | 21
Sulfate | 250 | mg/L | 14 | 14 | 14 | 14
Zinc |  | mg/L | <0.005 | <0.005 | <0.005 | <0.005
Methyl Mercury |  | ng/L | 0.037 | 0.029 | 0.024 | ≤0.020
Pesticides
Diazinon |  | ug/L | ND | ND | ND | ND
Chlorpyrifos |  | ug/L | ND | ND | ND | ND

## Pyramid Reach Analytical Data
Analyte | Los Angeles Basin Plan Objective | Sample Location | Pyramid Reach below Dam | Pyramid Reach @ 1.5mi dowsntream of Dam | Pyramid Reach @ 3.0 mi downstream of Dam | Pyramid Reach near Blue Point Campground
|  | Sample Depth (ft) | 0.5 | 0.5 | 0.5 | 0.5
|  | Sample Date | 2017-09-25 | 2017-09-25 | 2017-09-25 | 2017-09-27
|  | Units | Result | Result | Result | Result
In Situ Measurments
Temperature |  | °C | 19.38 | 16.39 | 18.88 | 17.8
Specific Conductance |  | µSiemans/cm | 249 | 381 | 660 | 1490
pH | 6.5-8.5 | stnd units | 7.1 | 7.2 | 7.9 | 7.4
Dissolved Oxygen | 5 | mg/L | 8.86 | 8.19 | 9.72 | 7.89
Turbidity |  | NTU | 1.9 | 1.5 | 3.2 | 1.2
Total Concentrations
Alkalinity (as CaCO3) |  | mg/L | 49 | 69 | 116 | 246
Aluminum | 0.2 | mg/L | 0.02 | 0.03 | 0.07 | <0.01
Antimony | 0.006 | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Arsenic | 0.01 | mg/L | 0.004 | 0.003 | 0.002 | 0.002
Barium | 1 | mg/L | 0.02 | 0.022 | 0.029 | 0.054
Beryllium | 0.004 | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Cadmium | 0.005 | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Chromium | 0.05 | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Copper | 1 | mg/L | <0.001 | <0.001 | <0.001 | 0.001
Solids, Total Dissolved |  | mg/L | 152 | 231 | 422 | 1056
Iron |  | mg/L | <0.005 | 0.1 | 0.2 | 0.169
Kjeldahl Nitrogen |  | mg/L | 0.2 | 0.1 | 0.2 | <0.1
Lead | 0.015 | mg/L | <0.001 | <0.001 | <0.001 | <.001
Manganese |  | mg/L | 0.02 | 0.01 | 0.03 | 0.037
Nickel | 0.1 | mg/L | <0.001 | <0.001 | <0.001 | 0.005
Organic Carbon |  | mg/L | 3.3 | 3.2 | 2.7 | 2.1
Phosphorus |  | mg/L | 0.14 | 0.08 | 0.04 | 0.02
Selenium | 0.01 | mg/L | <0.001 | <0.001 | <0.001 | 0.001
Silver |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Suspended Solids |  | mg/L | 1 | 3 | 4 | 2
Zinc |  | mg/L | 0.02 | <0.005 | <0.005 | <0.005
Mercury, Total | 2000 | ng/L | 1.3 | 0.99 | 1.4 | 0.89
Methyl Mercury |  | ng/L | 0.076 | 0.057 | 0.079 | 0.055
Dissolved Concentrations
Aluminum |  | mg/L | <0.01 | <0.01 | 0.05 | <0.01
Ammonia as N |  | mg/L | <0.01 | 0.02 | <0.01 | <0.01
Antimony |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Arsenic |  | mg/L | 0.003 | 0.002 | 0.002 | 0.001
Barium |  | mg/L | 0.019 | 0.02 | 0.027 | 0.05
Beryllium |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Cadmium |  | mg/l | <0.001 | <0.001 | <0.001 | <0.001
Calcium |  | mg/L | 15 | 22 | 43 | 141
Chloride |  | mg/L | 28 | 32 | 48 | 94
Chromium |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Copper |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Hardness, Dissolved as CaC03 |  | mg/L | 65 | 1 | 209 | 579
Iron |  | mg/L | <0.005 | <0.005 | 0.1 | 0.024
Lead |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Magnesium |  | mg/L | 7 | 14 | 25 | 55
Manganese |  | mg/L | <0.005 | <0.005 | 0.03 | <0.005
Nickel |  | mg/L | <0.001 | <0.001 | <0.001 | 0.004
Nitrate + Nitrite (as N) | 10 | mg/L | 0.45 | 0.34 | 0.11 | 0.09
Organic Carbon |  | mg/L | 3.1 | 3.1 | 2.7 | 1.9
Ortho-phosphate (as P) |  | mg/L | 0.14 | 0.08 | 0.04 | 0.02
Potassium |  | mg/L | 2.1 | 2.4 | 3.1 | 4.7
Selenium |  | mg/L | <0.001 | <0.001 | <0.001 | 0.001
Silver |  | mg/L | <0.001 | <0.001 | <0.001 | <0.001
Sodium |  | mg/L | 24 | 35 | 69 | 110
Sulfate |  | mg/L | 26 | 69 | 141 | 430
Zinc |  | mg/L | 0.01 | <0.005 | <0.005 | <0.005
Methyl Mercury |  | ng/L | 0.092 | 0.076 | 0.042 | 0.026
Pesticides
Diazinon |  | ug/L | ND | ND | ND | ND
Chlorpyrifos |  | ug/L | ND | ND | ND | ND